## Slide 1
Following 5 pages (page 3-7) show projected hits on the XY plan at Z=H4/H5 for the 27 different trigger combinations based on the normal hodo Triggers. [for comparison, page 9-13 are same plots at Z=tank bottom, in short summary, the plots for Z=tank bottom are in smaller area, not a surprise]
0 or 1 are assigned to plastic scintillator counters in H2H0H3H1H4H5 sequence:
TrigTypes are shown on the plots, e.g., 101010 means
When forming these triggers, the stopped muons events are not excluded.
Pages 15 – 41 (27 pages) are npe distributions for PMTs for these trigger types.
Working on formulating chi-2 comparison between MC and “data”.
The data is also from MC but with an attenuation parameter close to one of the MC data points.
I’ll see if I can fit it using the chi-2 likelihood method.
Number of events for each trigger type
(from 30k total simulated muons)
Contents of these slides
4/19/2019

## Slide 14
Npe in 2 us window (these plots, from page 14 to page 40, the PMTs not hit by any photons in an event are not counted)

## Slide 15
Npe in 2 us window

## Slide 16
Npe in 2 us window

## Slide 17
Npe in 2 us window

## Slide 18
Npe in 2 us window

## Slide 19
Npe in 2 us window

## Slide 20
Npe in 2 us window

## Slide 21
Npe in 2 us window

## Slide 22
Npe in 2 us window

## Slide 23
Npe in 2 us window

## Slide 24
Npe in 2 us window

## Slide 25
Npe in 2 us window

## Slide 26
Npe in 2 us window

## Slide 27
Npe in 2 us window

## Slide 28
Npe in 2 us window

## Slide 29
Npe in 2 us window

## Slide 30
Npe in 2 us window

## Slide 31
Npe in 2 us window

## Slide 32
Npe in 2 us window

## Slide 33
Npe in 2 us window

## Slide 34
Npe in 2 us window

## Slide 35
Npe in 2 us window

## Slide 36
Npe in 2 us window

## Slide 37
Npe in 2 us window

## Slide 38
Npe in 2 us window

## Slide 39
Npe in 2 us window

## Slide 40
Npe in 2 us window

## Slide 42
Npe in 2 us (50 ns) window (these plots, from page 42 to page 68, the PMTs not hit by any photons in an event are counted)

## Slide 43
Npe in 2 us (50 ns) window (these plots, from page 42 to page 68, the PMTs not hit by any photons in an event are counted)

## Slide 44
Npe in 2 us (50 ns) window (these plots, from page 42 to page 68, the PMTs not hit by any photons in an event are counted)

## Slide 45
Npe in 2 us (50 ns) window (these plots, from page 42 to page 68, the PMTs not hit by any photons in an event are counted)

## Slide 46
Npe in 2 us (50 ns) window (these plots, from page 42 to page 68, the PMTs not hit by any photons in an event are counted)

## Slide 47
Npe in 2 us (50 ns) window (these plots, from page 42 to page 68, the PMTs not hit by any photons in an event are counted)

## Slide 48
Npe in 2 us (50 ns) window (these plots, from page 42 to page 68, the PMTs not hit by any photons in an event are counted)

## Slide 49
Npe in 2 us (50 ns) window (these plots, from page 42 to page 68, the PMTs not hit by any photons in an event are counted)

## Slide 50
Npe in 2 us (50 ns) window (these plots, from page 42 to page 68, the PMTs not hit by any photons in an event are counted)

## Slide 51
Npe in 2 us (50 ns) window (these plots, from page 42 to page 68, the PMTs not hit by any photons in an event are counted)

## Slide 52
Npe in 2 us (50 ns) window (these plots, from page 42 to page 68, the PMTs not hit by any photons in an event are counted)

## Slide 53
Npe in 2 us (50 ns) window (these plots, from page 42 to page 68, the PMTs not hit by any photons in an event are counted)

## Slide 54
Npe in 2 us (50 ns) window (these plots, from page 42 to page 68, the PMTs not hit by any photons in an event are counted)

## Slide 55
Npe in 2 us (50 ns) window (these plots, from page 42 to page 68, the PMTs not hit by any photons in an event are counted)

## Slide 56
Npe in 2 us (50 ns) window (these plots, from page 42 to page 68, the PMTs not hit by any photons in an event are counted)

## Slide 57
Npe in 2 us (50 ns) window (these plots, from page 42 to page 68, the PMTs not hit by any photons in an event are counted)

## Slide 58
Npe in 2 us (50 ns) window (these plots, from page 42 to page 68, the PMTs not hit by any photons in an event are counted)

## Slide 59
Npe in 2 us (50 ns) window (these plots, from page 42 to page 68, the PMTs not hit by any photons in an event are counted)

## Slide 60
Npe in 2 us (50 ns) window (these plots, from page 42 to page 68, the PMTs not hit by any photons in an event are counted)

## Slide 61
Npe in 2 us (50 ns) window (these plots, from page 42 to page 68, the PMTs not hit by any photons in an event are counted)

## Slide 62
Npe in 2 us (50 ns) window (these plots, from page 42 to page 68, the PMTs not hit by any photons in an event are counted)

## Slide 63
Npe in 2 us (50 ns) window (these plots, from page 42 to page 68, the PMTs not hit by any photons in an event are counted)

## Slide 64
Npe in 2 us (50 ns) window (these plots, from page 42 to page 68, the PMTs not hit by any photons in an event are counted)

## Slide 65
Npe in 2 us (50 ns) window (these plots, from page 42 to page 68, the PMTs not hit by any photons in an event are counted)

## Slide 66
Npe in 2 us (50 ns) window (these plots, from page 42 to page 68, the PMTs not hit by any photons in an event are counted)

## Slide 67
Npe in 2 us (50 ns) window (these plots, from page 42 to page 68, the PMTs not hit by any photons in an event are counted)

## Slide 68
Npe in 2 us (50 ns) window (these plots, from page 42 to page 68, the PMTs not hit by any photons in an event are counted)

## Slide 70
ID | Param. value | Max atten. length (m) | Wavelen. at maxAttL (nm) | Used as Data (D) or MC (M)?
1 | 0.0001 | 202.158 | 417.5 | M
2 | 0.0011 | 99.3408 | 432.5 | M
3 | 0.0033 | 49.885 | 435 | M
4 | 0.0067 | 30.8572 | 472.5 | M
5 | 0.0127 | 19.9011 | 490 | M
6 | 0.0187 | 14.9474 | 490 | M
7 | 0.0311 | 9.9984 | 500 | M
8 | 0.0571 | 6.49973 | 565 | M
9 | 0.0129 | 19.6837 | 490 | D
10 | 0.0043 | 40.792 | 435 | 
11 | 0.0025 | 60.7117 | 435 | 
12 | 0.0017 | 78.0418 | 432.5 | 
13 | 0.0021 | 68.2933 | 432.5 | 
14 | 0.0091 | 25.0536 | 485 | 
15 | 0.0055 | 35.0198 | 472.5 | 
16 | 0.0037 | 45.8012 | 435 | 
17 | 0.0029 | 54.7685 | 435 | 
18 | 0.0005 | 141.782 | 417.5 | 

## Slide 71
Chi2
Use all trigger types & all PMTs
True attenuation 19.6837 m
True attenuation 40.792 m
True attenuation 60.712 m
Find: (20.776 ± 0.009) m
Find: (41.570 ± 0.016) m

## Slide 72
trigType | S0 | S1 | S2 | S3 | S4 | S5 | S6 | S7
101000 |  |  |  |  | - | - |  | 
101010 | - | - | - | - | - | - | - | -
101001 | - | - | - | - | - | - | - | -
100100 |  |  |  |  | - | - |  | 
100110 |  | - | - |  | - | - |  | 
100101 | - | - | - |  | - | - |  | 
011000 |  |  |  |  | - | - |  | 
011010 | - | - | - | - | - | - | - | -
011001 | - | - | - | - | - | - | - | -
010100 | - |  |  |  | - | - |  | 
010110 | - | - | - | - | - | - |  | -
010101 | - | - |  |  | - | - |  | -
111000 |  |  |  |  | - | - |  | 
111010 | - | - | - | - | - | - | - | -
111001 | - | - | - | - | - | - | - | -
110100 |  |  |  |  | - | - |  | 
110110 |  |  |  |  | - | - |  | 
110101 |  |  |  |  | - | - |  | 
011100 | - |  |  |  | - | - | - | -
011110 | - | - | - | - | - | - | - | -
011101 | - | - | - |  | - | - | - | -
101100 |  |  |  |  | - | - |  | 
101110 |  | - | - |  | - | - |  | 
101101 | - | - | - | - | - | - | - | -
111100 |  |  |  |  | - | - |  | 
111110 |  | - | - |  | - | - |  | -
111101 | - | - | - |  | - | - |  | -
“-” means chi2 has no discrimination power
If using the triggers in blue, and not counting S4, S5:
For the case fitting a 20m attenuation length.
The red curve is after the selection

## Slide 73
Fit ~20 m individual PMTs and individual event samples

## Slide 74
Fit ~20 m individual PMTs and individual event samples

## Slide 75
Fit ~20 m individual PMTs and individual event samples